## Maintenance Logbook
#VALUE!
Biosan – Laboratory Centrifuge Maintenance Logbook
Model:
Serial No.:
Laboratory / Department:
Responsible Person:
Year Range:
Date | Frequency | Checklist Item | Description / Instructions | Result | Performed by | Verified / Signed (annual only)
| Monthly | Inspect rotor and adapters | Check for wear, corrosion, cracks, and correct fit
| Monthly | Inspect centrifuge lid and locking mechanism | Confirm lid closes securely and lock engages
| Monthly | Check power cord and housing | Look for mechanical damage, loose fittings, or cracks
| Monthly | Clean cooling vents (LMC-4200R) | Ensure unobstructed airflow and remove dust
| Annual | Replace O-rings / gaskets | Replace with new approved parts
| Annual | Replace plastic holders/adapters | Replace all holders (24-month safety limit)
| Annual | Inspect rotor and buckets for corrosion | Record condition and replacements if needed
| Annual | Calibration and service check | Service by authorized technician
Biosan, SIA Ratsupites iela 7 k-2, Riga, LV-1067, Latvia Phone: +371 67 426 137 E-mail: support@biosan.lv www.biosan.lv

## Summary & Warranty Evaluation
#VALUE!
Biosan – Centrifuge Summary & Warranty Evaluation
Component | Last Replacement Date | Next Due | Condition Notes | Technician | Verified by QA
Rotor
Buckets
Adapters / Holders
O-rings / Gaskets
Calibration
Biosan, SIA Ratsupites iela 7 k-2, Riga, LV-1067, Latvia Phone: +371 67 426 137 E-mail: support@biosan.lv www.biosan.lv